## Sheet1
Variavel | Tipo | Tamanho | Comando | TIT100 | PIT100 | LIT100 | FIT100 | FIV100 | DIT301
response_code | ENUM27 | 1 | 150 | Error - Single3 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
device_status | BIT_ENUM02 | 1 | 151 |  | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
comm_status | BIT_ENUM03 | 1 | 152 |  | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
manufacturer_id | ENUM08 | 1 | 153 | Smar | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
device_type | ENUM01 | 1 | 154 | TT301 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
request_preambles | UNSIGNED | 1 | 155 | 5 | 5 | 5 | 5 | 5 | 5
universal_revision | UNSIGNED | 1 | 156
transmitter_revision | UNSIGNED | 1 | 157 | 48 | 48 | 48 | 48 | 48 | 48
software_revision | UNSIGNED | 1 | 158 | 4 | 4 | 4 | 4 | 4 | 4
hardware_revision | UNSIGNED | 1 | 159 | 1 | 1 | 1 | 1 | 1 | 1
device_flags | BIT_ENUM04 | 1 | 160 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
device_id | UNSIGNED | 3 | 161 | 030102 | 030102 | 030102 | 030102 | 030102 | 030102
polling_address | UNSIGNED | 1 | 162 | 128 | 128 | 128 | 128 | 128 | 128
tag | PACKED_ASCII | 8 | 163 | TT301 | LD301 | LD301 | LD301 | FY301 | DT301
message | PACKED_ASCII | 32 | 164 | Medidor de Temperatura | Medidor de Pressao | Medidor de Nível | Medidor de Vazão | Posicionador de Valvula | Medidor de Densidade
descriptor | PACKED_ASCII | 16 | 165 | Temperatura | Pressao | Nível | Vazão | Valvula | Densidade
date | DATE | 3 | 166 | 2021-08-19 | 44427 | 44427 | 44427 | 44427 | 44427
write_protect | ENUM00 | 1 | 167 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
private_label_distributor | ENUM00 | 1 | 168 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
final_assembly_number | UNSIGNED | 3 | 169 | 000 | 000 | 000 | 000 | 000 | 000
physical_signaling_code | ENUM10 | 1 | 171 | Bell 202 Current | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
units_code | ENUM02 | 1 | 2025 | Degrees Celsius | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
transfer_function_code | ENUM03 | 1 | 2026 | Linear Equation | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
alarm_selection_code | ENUM06 | 1 | 2027 | None | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
material_code | ENUM04 | 1 | 2028 | Stainless Steel 316 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
unique_device_type_code | ENUMERATED | 1 | 2029
write_protect_code | ENUM07 | 1 | 2030 | None | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
company_identification_code | ENUMERATED | 1 | 2031
burst_mode_control_code | ENUM09 | 1 | 2032 | None | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
physical_signaling_codes | ENUMERATED | 1 | 2033
flag_assignment | ENUM11 | 1 | 2034 | Multi-Sensor Field Device | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
operating_mode_code | ENUM14 | 1 | 2035 | None | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
analog_output_numbers_code | ENUM15 | 1 | 2036 | Analog Channel 0 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
rosemount_model_code | ENUMERATED | 1 | 2037
rosemount_analytical_model_code | ENUMERATED | 1 | 2038
kayray_model_code | ENUMERATED | 1 | 2039
micro_motion_model_code | ENUMERATED | 1 | 2040
xmtr_specific_status_0 | BIT_ENUMERATED | 1 | 4021
xmtr_specific_status_1 | BIT_ENUMERATED | 1 | 4022
xmtr_specific_status_2 | BIT_ENUMERATED | 1 | 4023
xmtr_specific_status_3 | BIT_ENUMERATED | 1 | 4024
burst_command_number | ENUM00 | 1 | 4093 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
burst_mode_select | ENUM00 | 1 | 4095 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
meter_installation | ENUM00 | 1 | 5020 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
digital_units | ENUM00 | 1 | 16384 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
sensor_type | ENUM00 | 1 | 16385 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
analog_output_transfer_function | ENUM00 | 1 | 16391 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
ma_analog_output_1_value | FLOAT | 4 | 16392 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
ma_analog_output_1_alarm_select | ENUM00 | 1 | 16393 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
differential_measurement_digital_value | FLOAT | 4 | 16394
differential_measurement_percent_range | FLOAT | 4 | 16395
differential_measurement_upper_range_value | FLOAT | 4 | 16396
differential_measurement_lower_range_value | FLOAT | 4 | 16397
differential_measurement_damping_value | FLOAT | 4 | 16398
sensor1_serial_number | UNSIGNED | 3 | 16399 | 000 | 000 | 000 | 000 | 000 | 000
differential_measurement_upper_sensor_limit | FLOAT | 4 | 16400
differential_measurement_lower_sensor_limit | FLOAT | 4 | 16401
differential_measurement_minimum_span | FLOAT | 4 | 16402
DEVICE_MODE | ENUM00 | 1 | 16403 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
number_wires | ENUM00 | 1 | 16404 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
electronics_temperature_digital_units | ENUMERATED | 1 | 16405
electronics_temperature_digital_value | FLOAT | 4 | 16406
electronics_temperature_serial_number | UNSIGNED | 3 | 16407
electronics_temperature_upper_sensor_limit | FLOAT | 4 | 16408
electronics_temperature_lower_sensor_limit | FLOAT | 4 | 16409
electronics_temperature_damping_value | FLOAT | 4 | 16410
sensor1_digital_units | ENUMERATED | 1 | 16411
sensor1_measurement_digital_value | FLOAT | 4 | 16412
sensor1_damping_value | FLOAT | 4 | 16413
sensor1_upper_sensor_limit | FLOAT | 4 | 16414
sensor1_lower_sensor_limit | FLOAT | 4 | 16415
sensor2_digital_units | ENUMERATED | 1 | 16416
sensor2_measurement_digital_value | FLOAT | 4 | 16417
sensor2_serial_number | UNSIGNED | 3 | 16418
sensor2_upper_sensor_limit | FLOAT | 4 | 16419
sensor2_lower_sensor_limit | FLOAT | 4 | 16420
sensor2_damping_value | FLOAT | 4 | 16421
device_code | UNSIGNED | 1 | 16423 | 0 | 0 | 0 | 0 | 0 | 0
lin_mode | ENUM00 | 1 | 16424 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
cal_locat | ENUMERATED | 1 | 16427
cal_point_units | ENUMERATED | 1 | 16428
upper_cal_point_limit | FLOAT | 4 | 16429
lower_cal_point_limit | FLOAT | 4 | 16430
cal_point | FLOAT | 4 | 16432
CONTROLLER_TYPE | ENUM00 | 1 | 16436 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
POWER_UP_MODE | ENUM00 | 1 | 16437 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
CONTROLLER_ACTION | ENUM00 | 1 | 16438 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
unit_code | ENUM00 | 1 | 16443 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
PROCESS_VARIABLE | FLOAT | 4 | 16444 | 83.45 | 83.45 | 83.45 | 83.45 | 83.45 | 83.45
SETPOINT | FLOAT | 4 | 16445 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
MANIPULATED_VARIABLE | FLOAT | 4 | 16446 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
SETPOINT_TRACKING_MODE | ENUM00 | 1 | 16447 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
pid_mode | ENUM00 | 1 | 16448 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
ERROR_PERCENT_RANGE | FLOAT | 4 | 16449 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
PROPORTIONAL_GAIN | FLOAT | 4 | 16452 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
INTEGRAL_TIME | FLOAT | 4 | 16453 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
DERIVATIVE_TIME | FLOAT | 4 | 16454 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
MV_HIGH_LIMIT | FLOAT | 4 | 16463 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
MV_LOW_LIMIT | FLOAT | 4 | 16464 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
MV_ROC_LIMIT | FLOAT | 4 | 16465 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
POWER_UP_SETPOINT_PERCENT_RANGE | FLOAT | 4 | 16468 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
POWER_UP_OUTPUT | FLOAT | 4 | 16469 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
set_point_time | FLOAT | 4 | 16472 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
set_point_generator_mode | ENUM00 | 1 | 16473 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
set_point_time_generator_mode | ENUM00 | 1 | 16474 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
coordinate_index | INDEX | 1 | 16479
table_points | INTEGER | 1 | 16482
range_units | UNSIGNED | 1 | 16485 | 0 | 0 | 0 | 0 | 0 | 0
upper_range_value | FLOAT | 4 | 16486 | 850 | 850 | 850 | 850 | 850 | 850
lower_range_value | FLOAT | 4 | 16487 | -200 | -200 | -200 | -200 | -200 | -200
alarm_0_action | ENUMERATED | 1 | 16489
alarm_1_action | ENUMERATED | 1 | 16490
alarm_2_action | ENUMERATED | 1 | 16491
alarm_1_value | FLOAT | 4 | 16492
alarm_2_value | FLOAT | 4 | 16493
alarm_0_status | ENUMERATED | 1 | 16494
alarm_1_status | ENUMERATED | 1 | 16495
alarm_2_status | ENUMERATED | 1 | 16496
alarm_0_acknowledge | ENUMERATED | 1 | 16497
alarm_1_acknowledge | ENUMERATED | 1 | 16498
alarm_2_acknowledge | ENUMERATED | 1 | 16499
pv_display_code | ENUM00 | 1 | 16505 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
sv_display_code | ENUM00 | 1 | 16506 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
chg_cnt_range | INTEGER | 1 | 16509
chg_cnt_function | INTEGER | 1 | 16510
chg_cnt_trim_4 | INTEGER | 1 | 16511
chg_cnt_trim_20 | INTEGER | 1 | 16512
chg_cnt_trim | INTEGER | 1 | 16513
chg_cnt_burnout | INTEGER | 1 | 16514
chg_cnt_sensor | INTEGER | 1 | 16515
chg_cnt_op_mode | INTEGER | 1 | 16516
chg_cnt_local_adjust | INTEGER | 1 | 16517
chg_cnt_com | INTEGER | 1 | 16518
chg_cnt_multidrop | INTEGER | 1 | 16519
chg_cnt_password | INTEGER | 1 | 16520
communication_write_protection_mode | ENUM00 | 1 | 16523 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
local_adjust_protection_mode | ENUM00 | 1 | 16524 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
local_adjust_mode | ENUM00 | 1 | 16527 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
pswd1 | ASCII | 6 | 16529
pswd2 | ASCII | 6 | 16530
pswd3 | ASCII | 6 | 16531
pswd4 | ASCII | 6 | 16532
level_password | UNSIGNED | 1 | 16534
pswd | ASCII | 6 | 16535
smar_order_code | ASCII | 21 | 16537
first_character | ASCII | 1 | 16540
second_character | ASCII | 1 | 16541
third_character | ASCII | 1 | 16542
fourth_character | ASCII | 1 | 16543
fifth_character | ASCII | 1 | 16544
special_sensor_upper_range_limit | FLOAT | 4 | 16547
special_sensor_lower_range_limit | FLOAT | 4 | 16548
special_sensor_minimum_span | FLOAT | 4 | 16549
special_sensor_high_limit | FLOAT | 4 | 16550
special_sensor_low_limit | FLOAT | 4 | 16551
input_unit_code | ENUM00 | 1 | 16554 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
special_sensor_ohms_mv_upper_limit | FLOAT | 4 | 16555
special_sensor_ohms_mv_lower_limit | FLOAT | 4 | 16556
special_sensor_gain | ENUMERATED | 1 | 16557
special_sensor_connection | ENUMERATED | 1 | 16558
conf_level_menu_1 | UNSIGNED | 1 | 16562
conf_level_menu_2 | UNSIGNED | 1 | 16563
conf_level_menu_3 | UNSIGNED | 1 | 16564
conf_level_menu_4 | UNSIGNED | 1 | 16565
conf_level_menu_5 | UNSIGNED | 1 | 16566
conf_level_menu_6 | UNSIGNED | 1 | 16567
conf_level_menu_7 | UNSIGNED | 1 | 16568
conf_level_menu_8 | UNSIGNED | 1 | 16569
output_variable | FLOAT | 4 | 16572 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
mv_special_cold_junction | ENUMERATED | 1 | 16575
not_used_1 | FLOAT | 4 | 16578
not_used_2 | FLOAT | 4 | 16579
mv_ohms | FLOAT | 4 | 16580 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
not_used_3 | INTEGER | 1 | 16581
cal_point_limits_unit | ENUM00 | 1 | 16582 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
upper_cal_point_value | FLOAT | 4 | 16583 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
lower_cal_point_value | FLOAT | 4 | 16584 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
CONTROLLER_MODE | ENUM00 | 1 | 16585 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
fail_safe_mode | ENUM00 | 1 | 16586 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
sensor_range | ENUM00 | 1 | 16587 | No Command-Specific Errors | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
table_coordinate_0 | FLOAT | 4 | 16588
table_coordinate_1 | FLOAT | 4 | 16589
table_coordinate_2 | FLOAT | 4 | 16590
table_coordinate_3 | FLOAT | 4 | 16591
table_coordinate_4 | FLOAT | 4 | 16592
table_coordinate_5 | FLOAT | 4 | 16593
table_coordinate_6 | FLOAT | 4 | 16594
table_coordinate_7 | FLOAT | 4 | 16595
table_coordinate_8 | FLOAT | 4 | 16596
table_coordinate_9 | FLOAT | 4 | 16597
table_coordinate_10 | FLOAT | 4 | 16598
table_coordinate_11 | FLOAT | 4 | 16599
table_coordinate_12 | FLOAT | 4 | 16600
table_coordinate_13 | FLOAT | 4 | 16601
table_coordinate_14 | FLOAT | 4 | 16602
table_coordinate_15 | FLOAT | 4 | 16603
table_coordinate_16 | FLOAT | 4 | 16604
table_coordinate_17 | FLOAT | 4 | 16605
table_coordinate_18 | FLOAT | 4 | 16606
table_coordinate_19 | FLOAT | 4 | 16607
table_coordinate_20 | FLOAT | 4 | 16608
table_coordinate_21 | FLOAT | 4 | 16609
table_coordinate_22 | FLOAT | 4 | 16610
table_coordinate_23 | FLOAT | 4 | 16611
table_coordinate_24 | FLOAT | 4 | 16612
table_coordinate_25 | FLOAT | 4 | 16613
table_coordinate_26 | FLOAT | 4 | 16614
table_coordinate_27 | FLOAT | 4 | 16615
table_coordinate_28 | FLOAT | 4 | 16616
table_coordinate_29 | FLOAT | 4 | 16617
table_coordinate_30 | FLOAT | 4 | 16618
table_coordinate_31 | FLOAT | 4 | 16619