## Sheet1
NAME | BYTE_SIZE | TYPE | LIT100 | FV100 | FV101 | TIT100 | PIT100
frame_type | 1 | UNSIGNED | 06 | 06 | 06 | 06 | 06
address_type | 1 | UNSIGNED | 00 | 00 | 00 | 00 | 00
error_code | 2 | ENUM00 | 0040 | 0040 | 0040 | 0040 | 0040
response_code | 1 | ENUM27 | 30 | 30 | 30 | 30 | 30
device_status | 1 | BIT_ENUM02 | 20 | 20 | 20 | 20 | 20
comm_status | 1 | BIT_ENUM03 | 00 | 00 | 00 | 00 | 00
master_slave | 1 | BIT_ENUM01 | 80 | 80 | 80 | 80 | 80
manufacturer_id | 1 | ENUM08 | 3F | 3E | 3E | 3E | 3E
device_type | 1 | ENUM01 | 01 | 03 | 03 | 02 | 01
request_preambles | 1 | UNSIGNED | 05 | 05 | 05 | 05 | 05
hart_revision | 1 | UNSIGNED | 05 | 05 | 05 | 05 | 05
transmitter_revision | 1 | UNSIGNED | 30 | 30 | 30 | 30 | 30
software_revision | 1 | UNSIGNED | 04 | 04 | 04 | 04 | 04
hardware_revision | 1 | UNSIGNED | 01 | 01 | 01 | 01 | 01
device_flags | 1 | BIT_ENUM04 | 00 | 00 | 00 | 00 | 00
device_id | 3 | UNSIGNED | 001E66 | 001E66 | 001E66 | 001E66 | 001E66
polling_address | 1 | UNSIGNED | 80 | 80 | 80 | 80 | 80
tag | 8 | PACKED_ASCII | 514CF0C60820 | 304CF0C60820 | 199CF0C60820 | 199CF0C60820 | 114CF0C60820
message | 32 | PACKED_ASCII | 00000000000000000003895853205150953013E04D54054893D2820820820820 | 000000000000000000000000000000000000000000001605A04F804160047541 | 00000000000000000000000000000000000000000005816813E01058160503D2 | 000000000000000000000000000001414D40548151548180406018F48E04C201 | 00000000000000000000000000000000000104854D304F80406018F48E04C201
descriptor | 16 | PACKED_ASCII | 0000000000000000000000000E25614C | 0000000000000040F4C90C93CE0443D2 | 0000000040F4C90C93CE0443D2820820 | 0000000001414D405481515481820820 | 000000000000000000000104854D304F
date | 3 | DATE | 130879 | 130879 | 130879 | 130879 | 130879
upper_range_value | 4 | FLOAT | 44548000 | 44548000 | 44548000 | 44548000 | 44548000
lower_range_value | 4 | FLOAT | C3480000 | C3480000 | C3480000 | C3480000 | C3480000
PROCESS_VARIABLE | 4 | FLOAT | 42700000 | 42480000 | 41A00000 | 41A00000 | 42480000
percent_of_range | 4 | FLOAT | @100 * (PROCESS_VARIABLE - lower_range_value) / (upper_range_value - lower_range_value) | @100 * (PROCESS_VARIABLE - lower_range_value) / (upper_range_value - lower_range_value) | @100 * (PROCESS_VARIABLE - lower_range_value) / (upper_range_value - lower_range_value) | @100 * (PROCESS_VARIABLE - lower_range_value) / (upper_range_value - lower_range_value) | @100 * (PROCESS_VARIABLE - lower_range_value) / (upper_range_value - lower_range_value)
loop_current | 4 | FLOAT | @(percent_of_range*0.16)+4 | @(percent_of_range*0.16)+4 | @(percent_of_range*0.16)+4 | @(percent_of_range*0.16)+4 | @(percent_of_range*0.16)+4
write_protect | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
private_label_distributor | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
final_assembly_number | 3 | FLOAT | 0000 | 0000 | 0000 | 0000 | 0000
physical_signaling_code | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
units_code | 1 | FLOAT | 20 | 20 | 20 | 20 | 20
transfer_function_code | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
alarm_selection_code | 1 | FLOAT | 00 | FB | FB | FB | FB
material_code | 1 | FLOAT | 02 | 02 | 02 | 02 | 02
write_protect_code | 1 | FLOAT | FB | FB | FB | FB | FB
burst_mode_control_code | 1 | FLOAT | FB | FB | FB | FB | FB
flag_assignment | 1 | FLOAT | 01 | 01 | 01 | 01 | 01
operating_mode_code | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
analog_output_numbers_code | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
burst_command_number | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
burst_mode_select | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
meter_installation | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
digital_units | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
sensor_type | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
analog_output_transfer_function | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
ma_analog_output_1_value | 4 | FLOAT | 42480000 | 42480000 | 42480000 | 42480000 | 42480000
ma_analog_output_1_alarm_select | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
sensor1_serial_number | 3 | FLOAT | 0000 | 0000 | 0000 | 0000 | 0000
DEVICE_MODE | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
number_wires | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
device_code | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
lin_mode | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
SETPOINT | 4 | FLOAT | 42480000 | 42480000 | 42480000 | 42480000 | 42480000
MANIPULATED_VARIABLE | 4 | FLOAT | 42480000 | 42480000 | 42480000 | 42480000 | 42480000
CONTROLLER_TYPE | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
POWER_UP_MODE | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
CONTROLLER_ACTION | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
unit_code | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
SETPOINT_TRACKING_MODE | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
pid_mode | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
ERROR_PERCENT_RANGE | 4 | FLOAT | 42480000 | 42480000 | 42480000 | 42480000 | 42480000
PROPORTIONAL_GAIN | 4 | FLOAT | 42480000 | 42480000 | 42480000 | 42480000 | 42480000
INTEGRAL_TIME | 4 | FLOAT | 42480000 | 42480000 | 42480000 | 42480000 | 42480000
DERIVATIVE_TIME | 4 | FLOAT | 42480000 | 42480000 | 42480000 | 42480000 | 42480000
MV_HIGH_LIMIT | 4 | FLOAT | 42480000 | 42480000 | 42480000 | 42480000 | 42480000
MV_LOW_LIMIT | 4 | FLOAT | 42480000 | 42480000 | 42480000 | 42480000 | 42480000
MV_ROC_LIMIT | 4 | FLOAT | 42480000 | 42480000 | 42480000 | 42480000 | 42480000
POWER_UP_SETPOINT_PERCENT_RANGE | 4 | FLOAT | 42480000 | 42480000 | 42480000 | 42480000 | 42480000
POWER_UP_OUTPUT | 4 | FLOAT | 42480000 | 42480000 | 42480000 | 42480000 | 42480000
set_point_time | 4 | FLOAT | 42480000 | 42480000 | 42480000 | 42480000 | 42480000
set_point_generator_mode | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
set_point_time_generator_mode | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
range_units | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
pv_display_code | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
sv_display_code | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
communication_write_protection_mode | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
local_adjust_protection_mode | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
local_adjust_mode | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
input_unit_code | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
output_variable | 4 | FLOAT | 42480000 | 42480000 | 42480000 | 42480000 | 42480000
mv_ohms | 4 | FLOAT | 42480000 | 42480000 | 42480000 | 42480000 | 42480000
cal_point_limits_unit | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
upper_cal_point_value | 4 | FLOAT | 42480000 | 42480000 | 42480000 | 42480000 | 42480000
lower_cal_point_value | 4 | FLOAT | 42480000 | 42480000 | 42480000 | 42480000 | 42480000
CONTROLLER_MODE | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
fail_safe_mode | 1 | FLOAT | 00 | 00 | 00 | 00 | 00
sensor_range | 1 | FLOAT | 00 | 00 | 00 | 00 | 00