## Sheet1
Variavel | Tipo | Tamanho | Comando | TI100 | PI100 | LI100 | FI100 | FV100 | DT301
response_code | ENUMERATED | 1 | 150 | 4.0
device_status | BIT_ENUMERATED | 1 | 151
comm_status | BIT_ENUMERATED | 1 | 152
manufacturer_id | ENUMERATED | 1 | 153
device_type | ENUMERATED | 1 | 154
request_preambles | UNSIGNED | 1 | 155
universal_revision | UNSIGNED | 1 | 156
transmitter_revision | UNSIGNED | 1 | 157
software_revision | UNSIGNED | 1 | 158
hardware_revision | UNSIGNED | 1 | 159
device_flags | BIT_ENUMERATED | 1 | 160
device_id | UNSIGNED | 3 | 161
polling_address | UNSIGNED | 1 | 162
tag | PACKED_ASCII | 8 | 163 | TT301 | LD301 | LD301 | LD301 | FY301 | DT301
message | PACKED_ASCII | 32 | 164 | Medidor de Temperatura | Medidor de Pressao | Medidor de Nível | Medidor de Vazão | Posicionador de Valvula | Medidor de Densidade
descriptor | PACKED_ASCII | 16 | 165
date | DATE | 3 | 166
write_protect | ENUMERATED | 1 | 167
private_label_distributor | ENUMERATED | 1 | 168
final_assembly_number | UNSIGNED | 3 | 169
physical_signaling_code | ENUMERATED | 1 | 171
units_code | ENUMERATED | 1 | 2025
transfer_function_code | ENUMERATED | 1 | 2026
alarm_selection_code | ENUMERATED | 1 | 2027
material_code | ENUMERATED | 1 | 2028
unique_device_type_code | ENUMERATED | 1 | 2029
write_protect_code | ENUMERATED | 1 | 2030
company_identification_code | ENUMERATED | 1 | 2031
burst_mode_control_code | ENUMERATED | 1 | 2032
physical_signaling_codes | ENUMERATED | 1 | 2033
flag_assignment | ENUMERATED | 1 | 2034
operating_mode_code | ENUMERATED | 1 | 2035
analog_output_numbers_code | ENUMERATED | 1 | 2036
rosemount_model_code | ENUMERATED | 1 | 2037
rosemount_analytical_model_code | ENUMERATED | 1 | 2038
kayray_model_code | ENUMERATED | 1 | 2039
micro_motion_model_code | ENUMERATED | 1 | 2040
xmtr_specific_status_0 | BIT_ENUMERATED | 1 | 4021
xmtr_specific_status_1 | BIT_ENUMERATED | 1 | 4022
xmtr_specific_status_2 | BIT_ENUMERATED | 1 | 4023
xmtr_specific_status_3 | BIT_ENUMERATED | 1 | 4024
burst_command_number | ENUMERATED | 1 | 4093
burst_mode_select | ENUMERATED | 1 | 4095
meter_installation | ENUMERATED | 1 | 5020
digital_units | ENUMERATED | 1 | 16384
sensor_type | ENUMERATED | 1 | 16385
analog_output_transfer_function | ENUMERATED | 1 | 16391
ma_analog_output_1_value | FLOAT | 4 | 16392
ma_analog_output_1_alarm_select | ENUMERATED | 1 | 16393
differential_measurement_digital_value | FLOAT | 4 | 16394
differential_measurement_percent_range | FLOAT | 4 | 16395
differential_measurement_upper_range_value | FLOAT | 4 | 16396
differential_measurement_lower_range_value | FLOAT | 4 | 16397
differential_measurement_damping_value | FLOAT | 4 | 16398
sensor1_serial_number | UNSIGNED | 3 | 16399
differential_measurement_upper_sensor_limit | FLOAT | 4 | 16400
differential_measurement_lower_sensor_limit | FLOAT | 4 | 16401
differential_measurement_minimum_span | FLOAT | 4 | 16402
DEVICE_MODE | ENUMERATED | 1 | 16403
number_wires | ENUMERATED | 1 | 16404
electronics_temperature_digital_units | ENUMERATED | 1 | 16405
electronics_temperature_digital_value | FLOAT | 4 | 16406
electronics_temperature_serial_number | UNSIGNED | 3 | 16407
electronics_temperature_upper_sensor_limit | FLOAT | 4 | 16408
electronics_temperature_lower_sensor_limit | FLOAT | 4 | 16409
electronics_temperature_damping_value | FLOAT | 4 | 16410
sensor1_digital_units | ENUMERATED | 1 | 16411
sensor1_measurement_digital_value | FLOAT | 4 | 16412
sensor1_damping_value | FLOAT | 4 | 16413
sensor1_upper_sensor_limit | FLOAT | 4 | 16414
sensor1_lower_sensor_limit | FLOAT | 4 | 16415
sensor2_digital_units | ENUMERATED | 1 | 16416
sensor2_measurement_digital_value | FLOAT | 4 | 16417
sensor2_serial_number | UNSIGNED | 3 | 16418
sensor2_upper_sensor_limit | FLOAT | 4 | 16419
sensor2_lower_sensor_limit | FLOAT | 4 | 16420
sensor2_damping_value | FLOAT | 4 | 16421
device_code | UNSIGNED | 1 | 16423
lin_mode | ENUMERATED | 1 | 16424
cal_locat | ENUMERATED | 1 | 16427
cal_point_units | ENUMERATED | 1 | 16428
upper_cal_point_limit | FLOAT | 4 | 16429
lower_cal_point_limit | FLOAT | 4 | 16430
cal_point | FLOAT | 4 | 16432
CONTROLLER_TYPE | ENUMERATED | 1 | 16436
POWER_UP_MODE | ENUMERATED | 1 | 16437
CONTROLLER_ACTION | ENUMERATED | 1 | 16438
unit_code | ENUMERATED | 1 | 16443
PROCESS_VARIABLE | FLOAT | 4 | 16444 | 83.45
SETPOINT | FLOAT | 4 | 16445
MANIPULATED_VARIABLE | FLOAT | 4 | 16446
SETPOINT_TRACKING_MODE | ENUMERATED | 1 | 16447
pid_mode | ENUMERATED | 1 | 16448
ERROR_PERCENT_RANGE | FLOAT | 4 | 16449
PROPORTIONAL_GAIN | FLOAT | 4 | 16452
INTEGRAL_TIME | FLOAT | 4 | 16453
DERIVATIVE_TIME | FLOAT | 4 | 16454
MV_HIGH_LIMIT | FLOAT | 4 | 16463
MV_LOW_LIMIT | FLOAT | 4 | 16464
MV_ROC_LIMIT | FLOAT | 4 | 16465
POWER_UP_SETPOINT_PERCENT_RANGE | FLOAT | 4 | 16468
POWER_UP_OUTPUT | FLOAT | 4 | 16469
set_point_time | FLOAT | 4 | 16472
set_point_generator_mode | ENUMERATED | 1 | 16473
set_point_time_generator_mode | ENUMERATED | 1 | 16474
coordinate_index | INDEX | 1 | 16479
table_points | INTEGER | 1 | 16482
range_units | UNSIGNED | 1 | 16485
upper_range_value | FLOAT | 4 | 16486
lower_range_value | FLOAT | 4 | 16487
alarm_0_action | ENUMERATED | 1 | 16489
alarm_1_action | ENUMERATED | 1 | 16490
alarm_2_action | ENUMERATED | 1 | 16491
alarm_1_value | FLOAT | 4 | 16492
alarm_2_value | FLOAT | 4 | 16493
alarm_0_status | ENUMERATED | 1 | 16494
alarm_1_status | ENUMERATED | 1 | 16495
alarm_2_status | ENUMERATED | 1 | 16496
alarm_0_acknowledge | ENUMERATED | 1 | 16497
alarm_1_acknowledge | ENUMERATED | 1 | 16498
alarm_2_acknowledge | ENUMERATED | 1 | 16499
pv_display_code | ENUMERATED | 1 | 16505
sv_display_code | ENUMERATED | 1 | 16506
chg_cnt_range | INTEGER | 1 | 16509
chg_cnt_function | INTEGER | 1 | 16510
chg_cnt_trim_4 | INTEGER | 1 | 16511
chg_cnt_trim_20 | INTEGER | 1 | 16512
chg_cnt_trim | INTEGER | 1 | 16513
chg_cnt_burnout | INTEGER | 1 | 16514
chg_cnt_sensor | INTEGER | 1 | 16515
chg_cnt_op_mode | INTEGER | 1 | 16516
chg_cnt_local_adjust | INTEGER | 1 | 16517
chg_cnt_com | INTEGER | 1 | 16518
chg_cnt_multidrop | INTEGER | 1 | 16519
chg_cnt_password | INTEGER | 1 | 16520
communication_write_protection_mode | ENUMERATED | 1 | 16523
local_adjust_protection_mode | ENUMERATED | 1 | 16524
local_adjust_mode | ENUMERATED | 1 | 16527
pswd1 | ASCII | 6 | 16529
pswd2 | ASCII | 6 | 16530
pswd3 | ASCII | 6 | 16531
pswd4 | ASCII | 6 | 16532
level_password | UNSIGNED | 1 | 16534
pswd | ASCII | 6 | 16535
smar_order_code | ASCII | 21 | 16537
first_character | ASCII | 1 | 16540
second_character | ASCII | 1 | 16541
third_character | ASCII | 1 | 16542
fourth_character | ASCII | 1 | 16543
fifth_character | ASCII | 1 | 16544
special_sensor_upper_range_limit | FLOAT | 4 | 16547
special_sensor_lower_range_limit | FLOAT | 4 | 16548
special_sensor_minimum_span | FLOAT | 4 | 16549
special_sensor_high_limit | FLOAT | 4 | 16550
special_sensor_low_limit | FLOAT | 4 | 16551
input_unit_code | ENUMERATED | 1 | 16554
special_sensor_ohms_mv_upper_limit | FLOAT | 4 | 16555
special_sensor_ohms_mv_lower_limit | FLOAT | 4 | 16556
special_sensor_gain | ENUMERATED | 1 | 16557
special_sensor_connection | ENUMERATED | 1 | 16558
conf_level_menu_1 | UNSIGNED | 1 | 16562
conf_level_menu_2 | UNSIGNED | 1 | 16563
conf_level_menu_3 | UNSIGNED | 1 | 16564
conf_level_menu_4 | UNSIGNED | 1 | 16565
conf_level_menu_5 | UNSIGNED | 1 | 16566
conf_level_menu_6 | UNSIGNED | 1 | 16567
conf_level_menu_7 | UNSIGNED | 1 | 16568
conf_level_menu_8 | UNSIGNED | 1 | 16569
output_variable | FLOAT | 4 | 16572
mv_special_cold_junction | ENUMERATED | 1 | 16575
not_used_1 | FLOAT | 4 | 16578
not_used_2 | FLOAT | 4 | 16579
mv_ohms | FLOAT | 4 | 16580
not_used_3 | INTEGER | 1 | 16581
cal_point_limits_unit | ENUMERATED | 1 | 16582
upper_cal_point_value | FLOAT | 4 | 16583
lower_cal_point_value | FLOAT | 4 | 16584
CONTROLLER_MODE | ENUMERATED | 1 | 16585
fail_safe_mode | ENUMERATED | 1 | 16586
sensor_range | ENUMERATED | 1 | 16587
table_coordinate_0 | FLOAT | 4 | 16588
table_coordinate_1 | FLOAT | 4 | 16589
table_coordinate_2 | FLOAT | 4 | 16590
table_coordinate_3 | FLOAT | 4 | 16591
table_coordinate_4 | FLOAT | 4 | 16592
table_coordinate_5 | FLOAT | 4 | 16593
table_coordinate_6 | FLOAT | 4 | 16594
table_coordinate_7 | FLOAT | 4 | 16595
table_coordinate_8 | FLOAT | 4 | 16596
table_coordinate_9 | FLOAT | 4 | 16597
table_coordinate_10 | FLOAT | 4 | 16598
table_coordinate_11 | FLOAT | 4 | 16599
table_coordinate_12 | FLOAT | 4 | 16600
table_coordinate_13 | FLOAT | 4 | 16601
table_coordinate_14 | FLOAT | 4 | 16602
table_coordinate_15 | FLOAT | 4 | 16603
table_coordinate_16 | FLOAT | 4 | 16604
table_coordinate_17 | FLOAT | 4 | 16605
table_coordinate_18 | FLOAT | 4 | 16606
table_coordinate_19 | FLOAT | 4 | 16607
table_coordinate_20 | FLOAT | 4 | 16608
table_coordinate_21 | FLOAT | 4 | 16609
table_coordinate_22 | FLOAT | 4 | 16610
table_coordinate_23 | FLOAT | 4 | 16611
table_coordinate_24 | FLOAT | 4 | 16612
table_coordinate_25 | FLOAT | 4 | 16613
table_coordinate_26 | FLOAT | 4 | 16614
table_coordinate_27 | FLOAT | 4 | 16615
table_coordinate_28 | FLOAT | 4 | 16616
table_coordinate_29 | FLOAT | 4 | 16617
table_coordinate_30 | FLOAT | 4 | 16618
table_coordinate_31 | FLOAT | 4 | 16619