## Sheet1
Variavel | Tipo | Tamanho | TIT100 | PIT100 | LIT100 | FIT100 | FIV100 | DIT301
response_code | ENUM27 | 1 | 30 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
device_status | BIT_ENUM02 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
comm_status | BIT_ENUM03 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
manufacturer_id | ENUM08 | 1 | 3E | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
device_type | ENUM01 | 1 | 02 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
request_preambles | UNSIGNED | 1 | 05 | 5 | 5 | 5 | 5 | 5
universal_revision | UNSIGNED | 1
transmitter_revision | UNSIGNED | 1 | 30 | 48 | 48 | 48 | 48 | 48
software_revision | UNSIGNED | 1 | 04 | 4 | 4 | 4 | 4 | 4
hardware_revision | UNSIGNED | 1 | 01 | 1 | 1 | 1 | 1 | 1
device_flags | BIT_ENUM04 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
device_id | UNSIGNED | 3 | 1F00000010 | 030102 | 030102 | 030102 | 030102 | 030102
polling_address | UNSIGNED | 1 | 80 | 128 | 128 | 128 | 128 | 128
tag | PACKED_ASCII | 8 | 514CF0C60820 | LD301 | LD301 | LD301 | FY301 | DT301
message | PACKED_ASCII | 32 | 34510910F4A010581414D405481515481820820820820820 | Medidor de Pressao | Medidor de Nível | Medidor de Vazão | Posicionador de Valvula | Medidor de Densidade
descriptor | PACKED_ASCII | 16 | 505350152054552060820820 | Pressao | Nível | Vazão | Valvula | Densidade
date | DATE | 3 | 130879 | 44427 | 44427 | 44427 | 44427 | 44427
write_protect | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
private_label_distributor | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
final_assembly_number | UNSIGNED | 3 | 00FBC6 | 000 | 000 | 000 | 000 | 000
physical_signaling_code | ENUM10 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
units_code | ENUM02 | 1 | 20 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
transfer_function_code | ENUM03 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
alarm_selection_code | ENUM06 | 1 | FB | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
material_code | ENUM04 | 1 | 02 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
unique_device_type_code | ENUMERATED | 1
write_protect_code | ENUM07 | 1 | FB | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
company_identification_code | ENUMERATED | 1
burst_mode_control_code | ENUM09 | 1 | FB | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
physical_signaling_codes | ENUMERATED | 1
flag_assignment | ENUM11 | 1 | 01 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
operating_mode_code | ENUM14 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
analog_output_numbers_code | ENUM15 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
rosemount_model_code | ENUMERATED | 1
rosemount_analytical_model_code | ENUMERATED | 1
kayray_model_code | ENUMERATED | 1
micro_motion_model_code | ENUMERATED | 1
xmtr_specific_status_0 | BIT_ENUMERATED | 1
xmtr_specific_status_1 | BIT_ENUMERATED | 1
xmtr_specific_status_2 | BIT_ENUMERATED | 1
xmtr_specific_status_3 | BIT_ENUMERATED | 1
burst_command_number | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
burst_mode_select | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
meter_installation | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
digital_units | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
sensor_type | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
analog_output_transfer_function | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
ma_analog_output_1_value | FLOAT | 4 | 00000000 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
ma_analog_output_1_alarm_select | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
differential_measurement_digital_value | FLOAT | 4
differential_measurement_percent_range | FLOAT | 4
differential_measurement_upper_range_value | FLOAT | 4
differential_measurement_lower_range_value | FLOAT | 4
differential_measurement_damping_value | FLOAT | 4
sensor1_serial_number | UNSIGNED | 3 | 000000 | 000 | 000 | 000 | 000 | 000
differential_measurement_upper_sensor_limit | FLOAT | 4
differential_measurement_lower_sensor_limit | FLOAT | 4
differential_measurement_minimum_span | FLOAT | 4
DEVICE_MODE | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
number_wires | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
electronics_temperature_digital_units | ENUMERATED | 1
electronics_temperature_digital_value | FLOAT | 4
electronics_temperature_serial_number | UNSIGNED | 3
electronics_temperature_upper_sensor_limit | FLOAT | 4
electronics_temperature_lower_sensor_limit | FLOAT | 4
electronics_temperature_damping_value | FLOAT | 4
sensor1_digital_units | ENUMERATED | 1
sensor1_measurement_digital_value | FLOAT | 4
sensor1_damping_value | FLOAT | 4
sensor1_upper_sensor_limit | FLOAT | 4
sensor1_lower_sensor_limit | FLOAT | 4
sensor2_digital_units | ENUMERATED | 1
sensor2_measurement_digital_value | FLOAT | 4
sensor2_serial_number | UNSIGNED | 3
sensor2_upper_sensor_limit | FLOAT | 4
sensor2_lower_sensor_limit | FLOAT | 4
sensor2_damping_value | FLOAT | 4
device_code | UNSIGNED | 1 | 00 | 0 | 0 | 0 | 0 | 0
lin_mode | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
cal_locat | ENUMERATED | 1
cal_point_units | ENUMERATED | 1
upper_cal_point_limit | FLOAT | 4
lower_cal_point_limit | FLOAT | 4
cal_point | FLOAT | 4
CONTROLLER_TYPE | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
POWER_UP_MODE | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
CONTROLLER_ACTION | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
unit_code | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
PROCESS_VARIABLE | FLOAT | 4 | @(percent_of_range / 100) * (upper_range_value - lower_range_value) + lower_range_value | 83.45 | 83.45 | 83.45 | 83.45 | 83.45
SETPOINT | FLOAT | 4 | 00000000 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
MANIPULATED_VARIABLE | FLOAT | 4 | 00 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
SETPOINT_TRACKING_MODE | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
pid_mode | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
ERROR_PERCENT_RANGE | FLOAT | 4 | 00 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
PROPORTIONAL_GAIN | FLOAT | 4 | 00000000 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
INTEGRAL_TIME | FLOAT | 4 | 00000000 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
DERIVATIVE_TIME | FLOAT | 4 | 00000000 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
MV_HIGH_LIMIT | FLOAT | 4 | 00000000 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
MV_LOW_LIMIT | FLOAT | 4 | 00000000 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
MV_ROC_LIMIT | FLOAT | 4 | 00000000 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
POWER_UP_SETPOINT_PERCENT_RANGE | FLOAT | 4 | 00000000 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
POWER_UP_OUTPUT | FLOAT | 4 | 00000000 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
set_point_time | FLOAT | 4 | 00000000 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
set_point_generator_mode | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
set_point_time_generator_mode | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
coordinate_index | INDEX | 1
table_points | INTEGER | 1
range_units | UNSIGNED | 1 | 00 | 0 | 0 | 0 | 0 | 0
upper_range_value | FLOAT | 4 | 44548000 | 850 | 850 | 850 | 850 | 850
lower_range_value | FLOAT | 4 | C3480000 | -200 | -200 | -200 | -200 | -200
alarm_0_action | ENUMERATED | 1
alarm_1_action | ENUMERATED | 1
alarm_2_action | ENUMERATED | 1
alarm_1_value | FLOAT | 4
alarm_2_value | FLOAT | 4
alarm_0_status | ENUMERATED | 1
alarm_1_status | ENUMERATED | 1
alarm_2_status | ENUMERATED | 1
alarm_0_acknowledge | ENUMERATED | 1
alarm_1_acknowledge | ENUMERATED | 1
alarm_2_acknowledge | ENUMERATED | 1
pv_display_code | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
sv_display_code | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
chg_cnt_range | INTEGER | 1
chg_cnt_function | INTEGER | 1
chg_cnt_trim_4 | INTEGER | 1
chg_cnt_trim_20 | INTEGER | 1
chg_cnt_trim | INTEGER | 1
chg_cnt_burnout | INTEGER | 1
chg_cnt_sensor | INTEGER | 1
chg_cnt_op_mode | INTEGER | 1
chg_cnt_local_adjust | INTEGER | 1
chg_cnt_com | INTEGER | 1
chg_cnt_multidrop | INTEGER | 1
chg_cnt_password | INTEGER | 1
communication_write_protection_mode | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
local_adjust_protection_mode | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
local_adjust_mode | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
pswd1 | ASCII | 6
pswd2 | ASCII | 6
pswd3 | ASCII | 6
pswd4 | ASCII | 6
level_password | UNSIGNED | 1
pswd | ASCII | 6
smar_order_code | ASCII | 21
first_character | ASCII | 1
second_character | ASCII | 1
third_character | ASCII | 1
fourth_character | ASCII | 1
fifth_character | ASCII | 1
special_sensor_upper_range_limit | FLOAT | 4
special_sensor_lower_range_limit | FLOAT | 4
special_sensor_minimum_span | FLOAT | 4
special_sensor_high_limit | FLOAT | 4
special_sensor_low_limit | FLOAT | 4
input_unit_code | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
special_sensor_ohms_mv_upper_limit | FLOAT | 4
special_sensor_ohms_mv_lower_limit | FLOAT | 4
special_sensor_gain | ENUMERATED | 1
special_sensor_connection | ENUMERATED | 1
conf_level_menu_1 | UNSIGNED | 1
conf_level_menu_2 | UNSIGNED | 1
conf_level_menu_3 | UNSIGNED | 1
conf_level_menu_4 | UNSIGNED | 1
conf_level_menu_5 | UNSIGNED | 1
conf_level_menu_6 | UNSIGNED | 1
conf_level_menu_7 | UNSIGNED | 1
conf_level_menu_8 | UNSIGNED | 1
output_variable | FLOAT | 4 | 00000000 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
mv_special_cold_junction | ENUMERATED | 1
not_used_1 | FLOAT | 4
not_used_2 | FLOAT | 4
mv_ohms | FLOAT | 4 | 00000000 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
not_used_3 | INTEGER | 1
cal_point_limits_unit | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
upper_cal_point_value | FLOAT | 4 | 00000000 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
lower_cal_point_value | FLOAT | 4 | 00000000 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39 | 5.8775e-39
CONTROLLER_MODE | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
fail_safe_mode | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
sensor_range | ENUM00 | 1 | 00 | Type Invalida | Type Invalida | Type Invalida | Type Invalida | Type Invalida
table_coordinate_0 | FLOAT | 4
table_coordinate_1 | FLOAT | 4
table_coordinate_2 | FLOAT | 4
table_coordinate_3 | FLOAT | 4
table_coordinate_4 | FLOAT | 4
table_coordinate_5 | FLOAT | 4
table_coordinate_6 | FLOAT | 4
table_coordinate_7 | FLOAT | 4
table_coordinate_8 | FLOAT | 4
table_coordinate_9 | FLOAT | 4
table_coordinate_10 | FLOAT | 4
table_coordinate_11 | FLOAT | 4
table_coordinate_12 | FLOAT | 4
table_coordinate_13 | FLOAT | 4
table_coordinate_14 | FLOAT | 4
table_coordinate_15 | FLOAT | 4
table_coordinate_16 | FLOAT | 4
table_coordinate_17 | FLOAT | 4
table_coordinate_18 | FLOAT | 4
table_coordinate_19 | FLOAT | 4
table_coordinate_20 | FLOAT | 4
table_coordinate_21 | FLOAT | 4
table_coordinate_22 | FLOAT | 4
table_coordinate_23 | FLOAT | 4
table_coordinate_24 | FLOAT | 4
table_coordinate_25 | FLOAT | 4
table_coordinate_26 | FLOAT | 4
table_coordinate_27 | FLOAT | 4
table_coordinate_28 | FLOAT | 4
table_coordinate_29 | FLOAT | 4
table_coordinate_30 | FLOAT | 4
table_coordinate_31 | FLOAT | 4
address_type | UNSIGNED |  | 00